

**Bill of Quantities (BOQ) List**

Squar

ecloud Malaysia Sdn Bhd

Block D61-3A Jaya One, No. 72A Jalan Universiti 46200, Petaling Jaya, Selangor

Project Site : **WD CUB 1**

**Penang Batu Kawan**

|  |  |  |
| --- | --- | --- |
| **System Devices** | **Id** | **Qty** |
| No of Chiller for Installation |  | 4 |
| Main Control Panel ICE |  | 1 |
| Software( Mi-Ace) |  | 4 |
| Outstation Panel | OP001 | 10 |
| Chiller Interface Cards |  | 4 |
| marking tube | P1004 | 1 |
| HW Router |  | 1 |
| Gateway |  | 1 |
| WISP |  | 5 |
| Modbus | M1004 | 13 |
| Power Meter | PW001 | 4 |
| Mi RHT Sensors |  | 132 |
| Power Supply Sockets |  | 132 |
| Modbus Display RTD sensor |  | 16 |
| AHU for OFFICE |  | 2 |
| Power Supply Box |  | 5 |
| HEAT EXCHANGERS |  | 6 |
| RTD for HX |  | 12 |
| Field Devices Wiring &  Networking (Total Points) |  | 29 |
| Chiller Wiring & RTD Installation |  | 28 |

|  |
| --- |
| **Remarks** |
|  |
|  |
| For 4 units Chiller |
| for 4 Chillers |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
|  |
| **OFFICE AHU OFF after 7PM** |
|  |
|  |
|  |
|  |
| HX and Chiller RTD |